## ControleQualiteProjet
Reference | CodeDocument | CodeDocumentClient | Designation | RQEP | PM/CPE | PR | EL | IN | ME-PP | CV/ST | PC | SF | IS PR/PRJS | IS EL/PRJS | IS IN/PRJS | IS ME/PP/PRJS | IS CV/ST/PRJS | IS PC/PRJS | IS SF/PRJS | PSL PR | PSL EL | PSL IN | PSL ME/PP | PSL PC | PSL CV/ST | PSL SF | CRPJ
AR 05/2202 | AR0522-CLC-ME-05-201 |  | PIPING STRESS CALCULATIONS BACK-UP SALES GAS METERING SKID 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | I | [5 empty] | A |  | I |  | I
AR 05/2202 | AR0522-CLC-CV-05-201 |  | STRUCTURAL STEEL CALCULATIONS BACK-UP SALES GAS METERING SKID 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  |  | P | [6 empty] | V | [7 empty] | A
AR 05/2202 | AR0522-DWG-CV-05-201 |  | STRUCTURAL STEEL DETAIL DRAWINGS BACK-UP SALES GAS METERING SKID 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  |  | P | [6 empty] | V | [7 empty] | A |  | C
AR 05/2202 | AR0522-DWG-CV-05-202 |  | FOUNDATION LAYOUT AND LOADING PLAN BACK-UP SALES GAS METERING SKID 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  |  | P | [6 empty] | V | [7 empty] | A |  | C
AR 05/2202 | AR0522-DWG-PP-05-201 |  | PIPING AND INSTRUMENTATION DIAGRAM (P&ID) BACK-UP SALES GAS METERING SKID 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | C | V |  |  |  |  | I | I | I |  |  |  | A
AR 05/2202 | AR0522-DWG-PP-05-202 |  | GENERAL ARRANGEMENT DRAWINGS BACK-UP SALES GAS METERING SKID 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [5 empty] | I | V | I |  |  |  | I | I | C |  | I |  | A
AR 05/2202 | AR0522-DWG-PP-05-203 |  | 3D MODEL BACK-UP SALES GAS METERING SKID 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [5 empty] | I | V | I |  |  |  | I | I |  |  | I |  | A
AR 05/2202 | AR0522-DWG-PP-05-204 |  | NAMEPLATE SKIDS GAS 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [6 empty] | C |  |  |  | A
AR 05/2202 | AR0522-DWG-PP-05-205 |  | ISOMETRICS BOOK DRAWINGS BACK-UP SALES GAS METERING SKID 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [6 empty] | C |  |  |  | A
AR 05/2202 | AR0522-LIS-PP-05-201 |  | MTO PIPING - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [10 empty] | A
AR 05/2202 | AR0522-LIS-PP-05-202 |  | MTO STUD-BOLTS - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [10 empty] | A
AR 05/2202 | AR0522-LIS-PP-05-203 |  | MTO U-BOLTS - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [10 empty] | A
AR 05/2202 | AR0522-LIS-PP-05-204 |  | MTO GASKETS - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [10 empty] | A
AR 05/2202 | AR0522-CLC-EL-05-201 |  | POWER & UTILITY CONSUMPTION CALCULATION SHEET - 60-Y0451 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I
AR 05/2202 | AR0522-DWG-EL-05-201 |  | SINGLE LINE DIAGRAM SKID GAS - 60-Y0451 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I
AR 05/2202 | AR0522-DWG-EL-05-202 |  | POWER DISTRIBUTION BOARD DIAGRAMS GAS - 60-Y0451 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I
AR 05/2202 | 3945_18-IN20510A-00311 |  | CABLES LISTS LIQUID MOLTEN SULFUR - 64-Y8601 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V | [6 empty] | A
AR 05/2202 | AR0522-LIS-IN-05-201 |  | HARDWIRED I/O LIST FOR METERING SYSTEMS | Q | R
AR 05/2202 | AR0522-LIS-IN-05-202 |  | CABLES LISTS GAS - 60-Y0451 FOR METERING SYSTEMS | Q | R
AR 05/2202 | AR0522-DWG-IN-05-201 |  | CABLE BLOCK DIAGRAM GAS SKIDS - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-05-202 |  | JUNCTION BOX DIAGRAM - GAS - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V | [6 empty] | A
AR 05/2202 | AR0522-DWG-IN-05-203 |  | INSTRUMENT HOOK UP DRAWINGS AND MOUNTING DETAILS - GAS - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V |  | I |  |  |  |  | A |  |  |  |  | C
AR 05/2202 | AR0522-DWG-IN-05-204 |  | FLOW METERING SUPERVISORY COMPUTER CABINET GAS GA DRAWING (ITR-87A) 61-Y3101 - 60-Y0451 - 60-Y0701 | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-05-205 |  | FLOW METERING FLOW COMPUTER CABINET GA DRAWING (ITR-87A) 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-05-206 |  | LOOP WIRING DRAWINGS SUPERVISORY COMPUTER CABINET GAS (ITR-87A) 61-Y3101 - 60-Y0451 - 60-Y0701 FOR | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-05-207 |  | LOOP WIRING DRAWINGS FLOW COMPUTER CABINET GAS (ITR-87A) 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-PP-05-206 |  | PIPING AND INSTRUMENTATION DIAGRAM (P&ID) BACK-UP SALES GAS ANALYSER SYSTEM 60-Y0451 | Q | R |  |  |  | P |  |  |  |  | I | C | V |  |  |  |  | I | I | I |  |  |  | A
AR 05/2202 | AR0522-DWG-PP-05-207 |  | GENERAL ARRANGEMENT DRAWINGS BACK-UP SALES GAS ANALYSER SYSTEM 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | I | V | I |  |  |  | I | I | C |  | I |  | A
AR 05/2202 | AR0522-DWG-PP-05-208 |  | 3D MODEL BACK-UP SALES GAS ANALYSER SYSTEM 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | I | V | I |  |  |  | I | I |  |  | I |  | A
AR 05/2202 | AR0522-DWG-EL-05-203 |  | POWER DISTRIBUTION BOARD DIAGRAMS ANALYSER CABINET - 60-Y0451 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I
AR 05/2202 | AR0522-DWG-EL-05-204 |  | SINGLE LINE DIAGRAM ANALYSER CABINET - 60-Y0451 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I |  |  |  |  | C
AR 05/2202 | AR0522-DWG-IN-05-208 |  | CABLE BLOCK DIAGRAM ANALYSER CABINET - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-05-209 |  | CABLES LISTS ANALYSER CABINET - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V | [6 empty] | A
AR 05/2202 | AR0522-DWG-IN-05-210 |  | JUNCTION BOX DIAGRAM - ANALYSER CABINET - 60-Y0451 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V |  | I |  |  |  |  | A |  |  |  |  | C
AR 05/2202 | AR0522-CLC-ME-06-201 |  | PIPING STRESS CALCULATIONS C2 VAPOUR METERING SKID 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | I | [5 empty] | A |  | I
AR 05/2202 | AR0522-DWG-PP-06-201 |  | PIPING AND INSTRUMENTATION DIAGRAM (P&ID) C2 VAPOUR METERING SKID 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | C | V |  |  |  |  | I | I | C |  |  |  | A
AR 05/2202 | AR0522-DWG-PP-06-202 |  | GENERAL ARRANGEMENT DRAWINGS C2 VAPOUR METERING SKID 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | I | V | I |  |  |  | I | I | C |  | I |  | A
AR 05/2202 | AR0522-DWG-PP-06-203 |  | 3D MODEL C2 VAPOUR METERING SKID 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | I | V | I |  |  |  | I | I |  |  | I |  | A
AR 05/2202 | AR0522-DWG-PP-06-204 |  | NAMEPLATE SKIDS GAS 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [6 empty] | C |  |  |  | A
AR 05/2202 | AR0522-DWG-PP-06-205 |  | ISOMETRICS BOOK DRAWINGS C2 VAPOUR METERING SKID 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [6 empty] | C |  |  |  | A
AR 05/2202 | AR0522-LIS-PP-06-201 |  | MTO PIPING - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [10 empty] | A
AR 05/2202 | AR0522-LIS-PP-06-202 |  | MTO STUD-BOLTS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [10 empty] | A
AR 05/2202 | AR0522-LIS-PP-06-203 |  | MTO U-BOLTS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [10 empty] | A
AR 05/2202 | AR0522-LIS-PP-06-204 |  | MTO GASKETS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P | [6 empty] | V | [10 empty] | A
AR 05/2202 | AR0522-CLC-CV-06-201 |  | STRUCTURAL STEEL CALCULATIONS C2 VAPOUR METERING SKID 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  |  | P | [6 empty] | V | [7 empty] | A
AR 05/2202 | AR0522-DWG-CV-06-201 |  | STRUCTURAL STEEL DETAIL DRAWINGS C2 VAPOUR METERING SKID 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  |  | P | [6 empty] | V | [7 empty] | A |  | C
AR 05/2202 | AR0522-DWG-CV-06-202 |  | FOUNDATION LAYOUT AND LOADING PLAN C2 VAPOUR METERING SKID 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  |  | P | [6 empty] | V | [7 empty] | A |  | C
AR 05/2202 | AR0522-CLC-EL-06-201 |  | POWER & UTILITY CONSUMPTION CALCULATION SHEET - 60-Y0701 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I
AR 05/2202 | AR0522-DWG-EL-06-201 |  | SINGLE LINE DIAGRAM SKID GAS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I
AR 05/2202 | AR0522-DWG-EL-06-202 |  | POWER DISTRIBUTION BOARD DIAGRAMS GAS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I |  |  |  |  | C
AR 05/2202 | AR0522-LIS-IN-06-201 |  | HARDWIRED I/O LIST FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V | [6 empty] | A |  |  |  |  | C
AR 05/2202 | AR0522-LIS-IN-06-202 |  | CABLES LISTS GAS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V | [6 empty] | A |  |  |  |  | C
AR 05/2202 | AR0522-DWG-IN-06-201 |  | CABLE BLOCK DIAGRAM GAS SKIDS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-06-202 |  | JUNCTION BOX DIAGRAM - GAS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V | [6 empty] | A
AR 05/2202 | AR0522-DWG-IN-06-203 |  | INSTRUMENT HOOK UP DRAWINGS AND MOUNTING DETAILS - GAS - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V |  | I |  |  |  |  | A |  |  |  |  | C
AR 05/2202 | AR0522-DWG-IN-06-204 |  | FLOW METERING SUPERVISORY COMPUTER CABINET GAS GA DRAWING (ITR-87A) 61-Y3101 - 60-Y0451 - 60-Y0701 | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-06-205 |  | FLOW METERING FLOW COMPUTER CABINET GA DRAWING (ITR-87A) 60-Y07011 FOR METERING SYSTEMS | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-06-206 |  | LOOP WIRING DRAWINGS SUPERVISORY COMPUTER CABINET GAS (ITR-87A) 61-Y3101 - 60-Y0451 - 60-Y0701 | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-06-207 |  | LOOP WIRING DRAWINGS FLOW COMPUTER CABINET GAS (ITR-87A) 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-PP-06-206 |  | PIPING AND INSTRUMENTATION DIAGRAM (P&ID) C2 VAPOUR ANALYSER SYSTEM 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | C | V |  |  |  |  | I | I | I |  |  |  | A
AR 05/2202 | AR0522-DWG-PP-06-207 |  | GENERAL ARRANGEMENT DRAWINGS C2 VAPOUR ANALYSER SYSTEM 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | I | V | I |  |  |  | I | I | C |  | I |  | A
AR 05/2202 | AR0522-DWG-PP-06-208 |  | 3D MODEL C2 VAPOUR ANALYSER SYSTEM 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  |  | P |  |  |  |  | I | I | V | I |  |  |  | I | I |  |  | I |  | A
AR 05/2202 | AR0522-DWG-EL-06-203 |  | POWER DISTRIBUTION BOARD DIAGRAMS ANALYSER CABINET - 60-Y0451 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I
AR 05/2202 | AR0522-DWG-EL-06-204 |  | SINGLE LINE DIAGRAM ANALYSER CABINET - 60-Y0451 FOR METERING SYSTEMS | Q | R |  | P | [6 empty] | V | I | [5 empty] | A | I |  |  |  |  | C
AR 05/2202 | AR0522-DWG-IN-06-208 |  | CABLE BLOCK DIAGRAM ANALYSER CABINET - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  | P | [5 empty] | C | V | [5 empty] | I | A
AR 05/2202 | AR0522-DWG-IN-06-209 |  | CABLES LISTS ANALYSER CABINET - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V | [6 empty] | A
AR 05/2202 | AR0522-DWG-IN-06-210 |  | JUNCTION BOX DIAGRAM - ANALYSER CABINET - 60-Y0701 FOR METERING SYSTEMS | Q | R |  |  | P | [6 empty] | V |  | I |  |  |  |  | A |  |  |  |  | C