## DocumentEtude
Reference | CodeDocument | CodeDocumentlient | TitreDocument | Rev | NBHIngenieur | NBHProjeteur | NBHIngenieur | NBHProjeteur | Etat
AR 11/19 | R1119-RPT-GE-00-001 | 7200039700-JWWF-G06-001 | BDEP endorsment Report |  | 10.4 | 0 | 44.2 | 0
AR 11/19 | R1119-RPT-GE-00-005 | 7200039700-JWWF-G06-005 | Technical Study report of odor control systems
AR 11/19 | R1119-RPT-PR-00-001 | 7200039700-JWWF-P06-001 | Equipment Sizing Report |  | 10.4 | 0 | 44.2 | 0
AR 11/19 | R1119-RPT-PR-00-002 | 7200039700-JWWF-P06-002 | Hydraulic Study Report – SWW Pump-station PS-56A / Force-Main (1200mm) from PS-56A to SWTP-9 |  | 13 | 0 | 54.6 | 0
AR 11/19 | R1119-RPT-PR-00-003 | 7200039700-JWWF-P06-003 | Transient Analysis Report– SWW Pump-station PS-56A / Force-Main (1200mm) from PS-56A to SWTP-9 |  | 26 | 0 | 91 | 0
AR 11/19 | R1119-RPT-PR-00-006 | 7200039700-JWWF-P06-006 | Hydraulic Study Report – Pump-station A14 / Force-Main (900mm) from PS-A14 to PS-56A
AR 11/19 | R1119-DWG-PR-00-001 | 7200039700-JWWF-PE-001 | Piping & Instrumentation Diagram – Force Main Pipeline from JIC boundary to PS-56A |  | 5.2 | 5.2 | 18.2 | 23.4
AR 11/19 | R1119-DWG-PR-00-012 | 7200039700-JWWF-PE-012 | Piping & Instrumentation Diagram –New Pumping Station PS-56A
AR 11/19 | R1119-DWG-PR-00-013 | 7200039700-JWWF-PE-013 | Piping & Instrumentation Diagram - Force Main Pipeline from PS-56A to SWTP-9
AR 11/19 | R1119-DWG-PR-00-014 | 7200039700-JWWF-PE-014 | Piping & Instrumentation Diagram – Typical Details
AR 11/19 | R1119-SPC-IN-00-001 | 7200039700-JWWF-I02-001 | Specification for Control System |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-DSH-ME-00-002 | 7200039700-JWWF-M04-002 | Sanitary Wastewater Pump Data Sheet |  | 10.4 | 0 | 52 | 0
AR 11/19 | R1119-RQ-ME-00-002 | 7200039700-JWWF-M08-002 | Sanitary Wastewater Pump Material Requisition |  | 6.5 | 0 | 19.5 | 0
AR 11/19 | R1119-SPC-ME-00-003 | 7200039700-JWWF-M02-003 | Specification for Electrical Overhead Crane for Pumps Specification |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DSH-ME-00-003 | 7200039700-JWWF-M04-003 | Electrical Overhead Crane Data Sheet |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-RQ-ME-00-003 | 7200039700-JWWF-M08-003 | Electrical Overhead Crane Material Requisition |  | 3.9 | 0 | 19.5 | 0
AR 11/19 | R1119-DSH-EL-00-001 | 7200039700-JWWF-E04-001 | Data Sheet for 34.5kV Ring Main Unit |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DSH-EL-00-002 | 7200039700-JWWF-E04-002 | Data Sheet for 34,5 KV Switchgear |  | 10.4 | 0 | 59.8 | 0
AR 11/19 | R1119-LIS-EL-00-001 | 7200039700-JWWF-E03-001 | Electrical Legend and Symbols
AR 11/19 | R1119-DWG-EL-00-001 | 7200039700-JWWF-EE-001 | Single Line Diagram for RMU |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-EL-00-002 | 7200039700-JWWF-EE-002 | Single Line Diagram for 34,5 KV Switchgear Sheet 1 of 3 |  | 5.2 | 5.2 | 10.4 | 85.8
AR 11/19 | R1119-DWG-EL-00-036 | 7200039700-JWWF-EE-040 | Single Line Diagram for 34,5 KV Switchgear Sheet 2 of 3
AR 11/19 | R1119-DWG-EL-00-037 | 7200039700-JWWF-EE-041 | Single Line Diagram for 34,5 KV Switchgear Sheet 3 of 3
AR 11/19 | R1119-DWG-EL-00-035 | 7200039700-JWWF-EE-050 | Electrical Legends and Symbols |  | 1.3 | 2.6 | 5.2 | 23.4
AR 11/19 | R1119-RQ-EL-00-001 | 7200039700-JWWF-E08-001 | Requisition for 34.5kV SWITCHGEAR |  | 1.3 | 0 | 15.6 | 0
AR 11/19 | R1119-DSH-EL-00-003 | 7200039700-JWWF-E04-003 | Data Sheet for 34,5 KV/4,16 KV Transformer |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-RQ-EL-00-002 | 7200039700-JWWF-E08-002 | Requisition for Transformers |  | 1.3 | 0 | 15.6 | 0
AR 11/19 | R1119-DSH-EL-00-004 | 7200039700-JWWF-E04-004 | Data Sheet for MV Emergency Diesel Generator |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-RQ-EL-00-003 | 7200039700-JWWF-E08-003 | Requisition for for MV Emergency Diesel Generator |  | 1.3 | 0 | 15.6 | 0
AR 11/19 | R1119-DSH-EL-00-005 | 7200039700-JWWF-E04-005 | Data Sheet for 4,16 KV Switchgear |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-DWG-EL-00-003 | 7200039700-JWWF-EE-003 | Key One Line Diagram & Power Distribution |  | 2.6 | 2.6 | 5.2 | 41.6
AR 11/19 | R1119-DWG-EL-00-004 | 7200039700-JWWF-EE-004 | Single Line Diagram for 4,16 KV Switchgear Sheet 1 of 3 |  | 2.6 | 2.6 | 5.2 | 54.6
AR 11/19 | R1119-DWG-EL-00-033 | 7200039700-JWWF-EE-005 | Single Line Diagram for 4,16 KV Switchgear Sheet 2 of 3
AR 11/19 | R1119-DWG-EL-00-034 | 7200039700-JWWF-EE-006 | Single Line Diagram for 4,16 KV Switchgear Sheet 3 of 3
AR 11/19 | R1119-RQ-EL-00-004 | 7200039700-JWWF-E08-004 | Requisition for MV switchgear |  | 1.3 | 0 | 15.6 | 0
AR 11/19 | R1119-DSH-EL-00-006 | 7200039700-JWWF-E04-006 | Data Sheet for MV Variable Frequency Drive |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-RQ-EL-00-005 | 7200039700-JWWF-E08-005 | Requisition for MV Variable Frequency Drives Panels |  | 1.3 | 0 | 15.6 | 0
AR 11/19 | R1119-SPC-CV-00-001 | 7200039700-JWWF-C02-001 | Topographical Survey Specification |  | 2.6 | 0 | 32.5 | 0
AR 11/19 | R1119-SPC-CV-00-002 | 7200039700-JWWF-C02-002 | Geotechnical Survey Specification |  | 2.6 | 0 | 45.5 | 0
AR 11/19 | R1119-SPC-CV-00-003 | 7200039700-JWWF-C02-003 | Radar Mapping Specification |  | 2.6 | 0 | 32.5 | 0
AR 11/19 | R1119-RPT-GE-00-002 | 7200039700-JWWF-G06-002 | Site Visit Report |  | 14.3 | 0 | 49.4 | 0
AR 11/19 | R1119-RPT-GE-00-003 | 7200039700-JWWF-G06-003 | Basis Of Design |  | 16.9 | 0 | 102.7 | 0
AR 11/19 | R1119-RPT-GE-00-004 | 7200039700-JWWF-G06-004 | 3D Model PS -56-A-- |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-SPC-ME-00-004 | 7200039700-JWWF-M02-004 | Piping and Valve Material Specification |  | 13 | 0 | 52 | 0
AR 11/19 | R1119-SPC-ME-00-005 | 7200039700-JWWF-M02-005 | Painting and Coating Specification |  | 6.5 | 0 | 32.5 | 0
AR 11/19 | R1119-SPC-ME-00-006 | 7200039700-JWWF-M02-006 | Hydrotest Specification |  | 6.5 | 0 | 32.5 | 0
AR 11/19 | R1119-SPC-ME-00-007 | 7200039700-JWWF-M02-007 | Odor System Specification |  | 6.5 | 0 | 32.5 | 0
AR 11/19 | R1119-DSH-ME-00-004 | 7200039700-JWWF-M04-004 | Valves Data Sheet |  | 6.5 | 0 | 32.5 | 0
AR 11/19 | R1119-DSH-ME-00-005 | 7200039700-JWWF-M04-005 | Flexible Joints Data Sheet |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DSH-ME-00-006 | 7200039700-JWWF-M04-006 | Quick Connection Data Sheet |  | 6.5 | 0 | 32.5 | 0
AR 11/19 | R1119-DSH-ME-00-007 | 7200039700-JWWF-M04-007 | Dismantling Joint Data Sheet |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DSH-ME-00-008 | 7200039700-JWWF-M04-008 | Special Items Data Sheet (if any) |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DSH-ME-00-013 | 7200039700-JWWF-M04-013 | Odor System Data Sheet |  | 6.5 | 0 | 32.5 | 0
AR 11/19 | R1119-DSH-ME-00-014 | 7200039700-JWWF-M04-014 | Penstocks Data Sheet |  | 6.5 | 0 | 32.5 | 0
AR 11/19 | R1119-RQ-ME-00-004 | 7200039700-JWWF-M08-004 | Piping Material Requisition |  | 6.5 | 0 | 19.5 | 0
AR 11/19 | R1119-RQ-ME-00-005 | 7200039700-JWWF-M08-005 | Valves Material Requisition |  | 6.5 | 0 | 19.5 | 0
AR 11/19 | R1119-RQ-ME-00-006 | 7200039700-JWWF-M08-006 | Quick Connection Material Requisition |  | 6.5 | 0 | 19.5 | 0
AR 11/19 | R1119-RQ-ME-00-007 | 7200039700-JWWF-M08-007 | Flexible Joints Material Requisition |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-RQ-ME-00-008 | 7200039700-JWWF-M08-008 | Dismantling Joint Material Requisition |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-RQ-ME-00-009 | 7200039700-JWWF-M08-009 | Special Items Material Requisition (if any) |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-LIS-ME-00-001 | 7200039700-JWWF-M03-001 | Special Items List (if any) |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-SPC-ME-00-009 |  | Force-main Construction Specification |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DSH-ME-00-015 | 7200039700-JWWF-M04-015 | Isolation Valve Data Sheet |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-DSH-ME-00-009 | 7200039700-JWWF-M04-009 | Air Release / Vacuum Release Valve Data Sheet |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-RQ-ME-00-014 | 7200039700-JWWF-M08-014 | Isolation Valve Material Requisition |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-RQ-ME-00-010 | 7200039700-JWWF-M08-010 | Air Release / Vacuum Release Valve Material Requisition |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-RPT-ME-00-001 | 7200039700-JWWF-M06-001 | Pipeline Stress Analysis report |  | 19.5 | 0 | 52 | 0
AR 11/19 | R1119-CLC-ME-00-001 | 7200039700-JWWF-M05-001 | Force-Main Buoyancy Calculation Note |  | 19.5 | 0 | 65 | 0
AR 11/19 | R1119-LIS-ME-00-002 | 7200039700-JWWF-M03-002 | DN 900 Force-main & fittings detailed MTO |  | 1.3 | 1.3 | 0 | 15.6
AR 11/19 | R1119-LIS-ME-00-010 | 7200039700-JWWF-M03-003 | DN 1200 Force-main & fittings detailed MTO |  | 1.3 | 1.3 | 0 | 15.6
AR 11/19 | R1119-LIS-ME-00-009 | 7200039700-JWWF-M03-009 | Force-main Valves MTO |  | 1.3 | 1.3 | 0 | 6.5
AR 11/19 | R1119-STD-ME-00-001 | 7200039700-JWWF-MB-001 | Force-main Trench Details Standard Drawings-- |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-STD-ME-00-002 | 7200039700-JWWF-MB-002 | Force-main Right Of Way Standard Drawings |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-STD-ME-00-003 | 7200039700-JWWF-MB-003 | Typical Force-main Crossings Drawings |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-STD-ME-00-004 | 7200039700-JWWF-MB-004 | Force-main Crossings Schedule |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-ME-00-001 | 7200039700-JWWF-ME-001 | Tie-in details drawing (SWTP-9) |  | 2.6 | 3.9 | 0 | 26
AR 11/19 | R1119-DWG-ME-00-002 | 7200039700-JWWF-ME-002 | Tie-in details drawing (JUBAIL TOWN) |  | 2.6 | 3.9 | 0 | 26
AR 11/19 | R1119-DWG-ME-00-003 | 7200039700-JWWF-ME-005 | Typical Drawings for washout chambers/air valve chambers / isolation valves Chamber DN 1200 |  | 1.3 | 3.9 | 0 | 27.3
AR 11/19 | R1119-DWG-ME-00-020 | 7200039700-JWWF-ME-004 | Typical Drawings for washout chambers/air valve chambers / isolation valves Chamber DN 900 |  | 1.3 | 3.9 | 0 | 27.3
AR 11/19 | R1119-DWG-ME-00-004 | 7200039700-JWWF-ME-013 | Pipe and valves supports details for washout chambers/air valve chambers / isolation valves Chamber |  | 2.6 | 7.8 | 0 | 62.4
AR 11/19 | R1119-DWG-ME-00-021 | 7200039700-JWWF-ME-014 | Pipe and valves supports details for washout chambers/air valve chambers / isolation valves Chamber Sheet 2 of 2 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-ME-00-027 | 7200039700-JWWF-ME-016 | SUPPORT LIST FOR PIPELINE DN900 & DN1200
AR 11/19 | R1119-DWG-ME-00-005 | 7200039700-JWWF-MB-005 | Isometric Drawings Tie-in connection Title Page |  | 2.6 | 6.5 | 0 | 62.4
AR 11/19 | R1119-DWG-ME-00-024 | 7200039700-JWWF-MB-006 | Isometric Drawings Tie-in connection Summary
AR 11/19 | R1119-DWG-ME-00-025 | 7200039700-JWWF-MB-007 | Isometric Drawings Tie-in connection Tie-in 001 (Jubail Town)
AR 11/19 | R1119-DWG-ME-00-026 | 7200039700-JWWF-MB-008 | Isometric Drawings Tie-in connection Tie-in 002 (SWTP-9)
AR 11/19 | R1119-DWG-ME-00-028 | 7200039700-JWWF-MB-009 | Isometric Drawings Tie-in connection Tie-in 003 (Potable Water)
AR 11/19 | R1119-DWG-ME-00-006 | 7200039700-JWWF-ME-00 5 | Force-main Route Map Drawing |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-ME-00-007 | 7200039700-JWWF-ME-006 | Force-main special crossings Details |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-ME-00-018 | 7200039700-JWWF-ME-003 | Typical Force-main Crossings Drawings. |  | 6.5 | 6.5 | 0 | 39
AR 11/19 | R1119-DWG-ME-00-019 | 7200039700-JWWF-ME-012 | Force-main Crossings Schedule. |  | 3.9 | 6.5 | 15.6 | 23.4
AR 11/19 | R1119-DWG-ME-00-029 | 7200039700-JWWF-ME-015 | Tie-in details drawing TIE-IN 003
AR 11/19 | R1119-SPC-ME-00-010 | 7200039700-JWWF-M02-010 | Sump Pump Specification |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-SPC-ME-00-011 | 7200039700-JWWF-M02-011 | Hoist Crane for Diesel Generator Specification |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DSH-ME-00-010 | 7200039700-JWWF-M04-010 | Sump Pump Data Sheet |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-DSH-ME-00-011 | 7200039700-JWWF-M04-011 | Electrical Overhead Crane for Diesel Generator Data Sheet |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-DSH-ME-00-012 | 7200039700-JWWF-M04-012 | Grinder / Macerator Data Sheet |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-RQ-ME-00-011 | 7200039700-JWWF-M08-011 | Sump Pump Material Requisition |  | 7.8 | 0 | 39 | 0
AR 11/19 | R1119-RQ-ME-00-012 | 7200039700-JWWF-M08-012 | Hoist Crane for Diesel Generator Material Requisition
AR 11/19 | R1119-RQ-ME-00-013 | 7200039700-JWWF-M08-013 | Grinder / Macerator Material Requisition |  | 3.9 | 0 | 19.5 | 0
AR 11/19 | R1119-RPT-ME-00-002 | 7200039700-JWWF-M06-002 | Piping Stress Analysis PS 56-A |  | 19.5 | 0 | 65 | 0
AR 11/19 | R1119-LIS-ME-00-006 | 7200039700-JWWF-M03-006 | Valve List |  | 3.9 | 0 | 19.5 | 0
AR 11/19 | R1119-LIS-ME-00-007 | 7200039700-JWWF-M03-007 | General Piping MTO |  | 3.9 | 3.9 | 0 | 31.2
AR 11/19 | R1119-LIS-ME-00-008 | 7200039700-JWWF-M03-008 | Piping Tie-in Index |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-ME-00-008 | 7200039700-JWWF-LE-001 | General Plot Plan PS -56-A |  | 6.5 | 10.4 | 0 | 62.4
AR 11/19 | R1119-DWG-ME-00-009 | 7200039700-JWWF-LE-002 | 3D Model PS -56-A |  | 13 | 13 | 0 | 130
AR 11/19 | R1119-DWG-ME-00-010 | 7200039700-JWWF-LE-003 | Piping Layout Drawings PS -56-A |  | 5.2 | 6.5 | 0 | 52
AR 11/19 | R1119-DWG-ME-00-011 | 7200039700-JWWF-LE-004 | Piping support Drawings PS -56-A |  | 6.5 | 7.8 | 0 | 39
AR 11/19 | R1119-DWG-ME-00-012 | 7200039700-JWWF-LB-001 | Isometric Drawings PS -56-A Sheet 1/42 |  | 6.5 | 6.5 | 0 | 62.4
AR 11/19 | R1119-DWG-ME-00-032 | 7200039700-JWWF-LB-002 | Isometric Drawings PS -56-A Sheet 2/42
AR 11/19 | R1119-DWG-ME-00-033 | 7200039700-JWWF-LB-003 | Isometric Drawings PS -56-A Sheet 3/42
AR 11/19 | R1119-DWG-ME-00-034 | 7200039700-JWWF-LB-004 | Isometric Drawings PS -56-A Sheet 4/42
AR 11/19 | R1119-DWG-ME-00-035 | 7200039700-JWWF-LB-005 | Isometric Drawings PS -56-A Sheet 5/42
AR 11/19 | R1119-DWG-ME-00-036 | 7200039700-JWWF-LB-006 | Isometric Drawings PS -56-A Sheet 6/42
AR 11/19 | R1119-DWG-ME-00-037 | 7200039700-JWWF-LB-007 | Isometric Drawings PS -56-A Sheet 7/42
AR 11/19 | R1119-DWG-ME-00-038 | 7200039700-JWWF-LB-008 | Isometric Drawings PS -56-A Sheet 8/42
AR 11/19 | R1119-DWG-ME-00-039 | 7200039700-JWWF-LB-009 | Isometric Drawings PS -56-A Sheet 9/42
AR 11/19 | R1119-DWG-ME-00-040 | 7200039700-JWWF-LB-010 | Isometric Drawings PS -56-A Sheet 10/42
AR 11/19 | R1119-DWG-ME-00-041 | 7200039700-JWWF-LB-011 | Isometric Drawings PS -56-A Sheet 11/42
AR 11/19 | R1119-DWG-ME-00-042 | 7200039700-JWWF-LB-012 | Isometric Drawings PS -56-A Sheet 12/42
AR 11/19 | R1119-DWG-ME-00-043 | 7200039700-JWWF-LB-013 | Isometric Drawings PS -56-A Sheet 13/42
AR 11/19 | R1119-DWG-ME-00-044 | 7200039700-JWWF-LB-014 | Isometric Drawings PS -56-A Sheet 14/42
AR 11/19 | R1119-DWG-ME-00-045 | 7200039700-JWWF-LB-015 | Isometric Drawings PS -56-A Sheet 15/42
AR 11/19 | R1119-DWG-ME-00-046 | 7200039700-JWWF-LB-016 | Isometric Drawings PS -56-A Sheet 16/42
AR 11/19 | R1119-DWG-ME-00-047 | 7200039700-JWWF-LB-017 | Isometric Drawings PS -56-A Sheet 17/42
AR 11/19 | R1119-DWG-ME-00-048 | 7200039700-JWWF-LB-018 | Isometric Drawings PS -56-A Sheet 18/42
AR 11/19 | R1119-DWG-ME-00-049 | 7200039700-JWWF-LB-019 | Isometric Drawings PS -56-A Sheet 19/42
AR 11/19 | R1119-DWG-ME-00-050 | 7200039700-JWWF-LB-020 | Isometric Drawings PS -56-A Sheet 20/42
AR 11/19 | R1119-DWG-ME-00-051 | 7200039700-JWWF-LB-021 | Isometric Drawings PS -56-A Sheet 21/42
AR 11/19 | R1119-DWG-ME-00-052 | 7200039700-JWWF-LB-022 | Isometric Drawings PS -56-A Sheet 22/42
AR 11/19 | R1119-DWG-ME-00-053 | 7200039700-JWWF-LB-023 | Isometric Drawings PS -56-A Sheet 23/42
AR 11/19 | R1119-DWG-ME-00-054 | 7200039700-JWWF-LB-024 | Isometric Drawings PS -56-A Sheet 24/42
AR 11/19 | R1119-DWG-ME-00-055 | 7200039700-JWWF-LB-025 | Isometric Drawings PS -56-A Sheet 25/42
AR 11/19 | R1119-DWG-ME-00-056 | 7200039700-JWWF-LB-026 | Isometric Drawings PS -56-A Sheet 26/42
AR 11/19 | R1119-DWG-ME-00-057 | 7200039700-JWWF-LB-027 | Isometric Drawings PS -56-A Sheet 27/42
AR 11/19 | R1119-DWG-ME-00-058 | 7200039700-JWWF-LB-028 | Isometric Drawings PS -56-A Sheet 28/42
AR 11/19 | R1119-DWG-ME-00-059 | 7200039700-JWWF-LB-029 | Isometric Drawings PS -56-A Sheet 29/42
AR 11/19 | R1119-DWG-ME-00-060 | 7200039700-JWWF-LB-030 | Isometric Drawings PS -56-A Sheet 30/43
AR 11/19 | R1119-DWG-ME-00-061 | 7200039700-JWWF-LB-031 | Isometric Drawings PS -56-A Sheet 30/42
AR 11/19 | R1119-DWG-ME-00-062 | 7200039700-JWWF-LB-032 | Isometric Drawings PS -56-A Sheet 31/42
AR 11/19 | R1119-DWG-ME-00-063 | 7200039700-JWWF-LB-033 | Isometric Drawings PS -56-A Sheet 32/42
AR 11/19 | R1119-DWG-ME-00-064 | 7200039700-JWWF-LB-034 | Isometric Drawings PS -56-A Sheet 33/42
AR 11/19 | R1119-DWG-ME-00-065 | 7200039700-JWWF-LB-035 | Isometric Drawings PS -56-A Sheet 34/42
AR 11/19 | R1119-DWG-ME-00-066 | 7200039700-JWWF-LB-036 | Isometric Drawings PS -56-A Sheet 35/42
AR 11/19 | R1119-DWG-ME-00-067 | 7200039700-JWWF-LB-037 | Isometric Drawings PS -56-A Sheet 36/42
AR 11/19 | R1119-DWG-ME-00-068 | 7200039700-JWWF-LB-038 | Isometric Drawings PS -56-A Sheet 37/42
AR 11/19 | R1119-DWG-ME-00-069 | 7200039700-JWWF-LB-039 | Isometric Drawings PS -56-A Sheet 38/42
AR 11/19 | R1119-DWG-ME-00-070 | 7200039700-JWWF-LB-040 | Isometric Drawings PS -56-A Sheet 39/42
AR 11/19 | R1119-DWG-ME-00-071 | 7200039700-JWWF-LB-041 | Isometric Drawings PS -56-A Sheet 40/42
AR 11/19 | R1119-DWG-ME-00-072 | 7200039700-JWWF-LB-042 | Isometric Drawings PS -56-A Sheet 41/42
AR 11/19 | R1119-DWG-ME-00-073 | 7200039700-JWWF-LB-043 | Isometric Drawings PS -56-A Sheet 42/42
AR 11/19 | R1119-DWG-ME-00-013 | 7200039700-JWWF-ME-011 | Equipment Installations Drawings PS -56-A |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-ME-00-022 | 7200039700-JWWF-LE-005 | Section and Detail Drawing PS-56A Sheet 1/2 |  | 1.3 | 3.9 | 0 | 13
AR 11/19 | R1119-DWG-ME-00-023 | 7200039700-JWWF-LE-006 | Section and Detail Drawing PS-56A Sheet 2/2
AR 11/19 | R1119-RPT-PR-00-004 | 7200039700-JWWF-P06-004 | Operating And Control Philosophy |  | 7.8 | 0 | 31.2 | 0
AR 11/19 | R1119-RPT-PR-00-005 | 7200039700-JWWF-P06-005 | Operating And Maintenance Manual |  | 10.4 | 0 | 62.4 | 0
AR 11/19 | R1119-LIS-PR-00-001 | 7200039700-JWWF-PE 03-010 | Symbol And Abbreviations List |  | 2.6 | 2.6 | 5.2 | 5.2
AR 11/19 | R1119-LIS-PR-00-002 | 7200039700-JWWF-P03-002 | Equipment List |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-LIS-PR-00-003 | 7200039700-JWWF-P03-003 | Line List |  | 5.2 | 0 | 15.6 | 0
AR 11/19 | R1119-LIS-PR-00-004 | 7200039700-JWWF-P03-004 | Tie-In list |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-LIS-PR-00-005 | 7200039700-JWWF-P03-005 | Cause And Effect Diagram |  | 7.8 | 0 | 31.2 | 0
AR 11/19 | R1119-DWG-PR-00-002 | 7200039700-JWWF-PE-002 | Block Flow Diagram |  | 2.6 | 2.6 | 5.2 | 5.2
AR 11/19 | R1119-DWG-PR-00-003 | 7200039700-JWWF-PE-003 | Process Flow Diagram – Force Main Pipeline from JIC boundary to PS-56A |  | 3.9 | 3.9 | 10.4 | 15.6
AR 11/19 | R1119-DWG-PR-00-010 | 7200039700-JWWF-PE-004 | Process Flow Diagram –New Pumping Station PS-56A
AR 11/19 | R1119-DWG-PR-00-011 | 7200039700-JWWF-PE-005 | Process Flow Diagram - Force Main Pipeline from PS-56A to SWTP-9
AR 11/19 | R1119-SPC-PR-00-001 | 7200039700-JWWF-P02-001 | Specification for Packaged Air conditioning unit (PACU) |  | 5.2 | 0 | 10.4 | 0
AR 11/19 | R1119-SPC-PR-00-002 | 7200039700-JWWF-P02-002 | Specification for Exhaust Fans |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-SPC-PR-00-003 | 7200039700-JWWF-P02-003 | Specification for Ductwork |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DSH-PR-00-001 | 7200039700-JWWF-P04-001 | Data Sheet for Packaged Air conditioning unit (PACU) |  | 10.4 | 0 | 15.6 | 0
AR 11/19 | R1119-DSH-PR-00-002 | 7200039700-JWWF-P04-002 | Data Sheet for Exhaust Fans |  | 10.4 | 0 | 15.6 | 0
AR 11/19 | R1119-CLC-PR-00-001 | 7200039700-JWWF-P05-001 | HVAC Calculation Note |  | 20.8 | 0 | 41.6 | 0
AR 11/19 | R1119-RQ-PR-00-001 | 7200039700-JWWF-P08-001 | Requisition for HVAC equipment |  | 10.4 | 0 | 20.8 | 0
AR 11/19 | R1119-DWG-PR-00-004 | 7200039700-JWWF-PE-015 | Electrical and Control Building HVAC system Layout Sheet 1/4 |  | 5.2 | 5.2 | 20.8 | 31.2
AR 11/19 | R1119-DWG-PR-00-015 | 7200039700-JWWF-PE-016 | Electrical and Control Building HVAC system Layout Sheet 2/4
AR 11/19 | R1119-DWG-PR-00-016 | 7200039700-JWWF-PE-017 | Electrical and Control Building HVAC system Layout Sheet 3/4
AR 11/19 | R1119-DWG-PR-00-017 | 7200039700-JWWF-PE-018 | Electrical and Control Building HVAC system Layout Sheet 4/4
AR 11/19 | R1119-DWG-PR-00-005 | 7200039700-JWWF-PE- 005 | Schedules HVAC for Electrical Building and Sec Room
AR 11/19 | R1119-DWG-PR-00-006 | 7200039700-JWWF-PE-006 | PLUMBING and HVAC Legend |  | 2.6 | 2.6 | 15.6 | 15.6
AR 11/19 | R1119-DWG-PR-00-007 | 7200039700-JWWF-PE-007 | PLUMBING & Sanitary Layout |  | 2.6 | 2.6 | 15.6 | 15.6
AR 11/19 | R1119-DWG-PR-00-008 | 7200039700-JWWF-PE-008 | Pump Room HVAC system Layout Sheet 1/2 |  | 5.2 | 2.6 | 20.8 | 20.8
AR 11/19 | R1119-DWG-PR-00-019 | 7200039700-JWWF-PE-019 | Pump Room HVAC system Layout Sheet 2/2
AR 11/19 | R1119-DWG-PR-00-009 | 7200039700-JWWF-PE-009 | Generator Building HVAC system Layout |  | 5.2 | 2.6 | 20.8 | 20.8
AR 11/19 | R1119-SPC-IN-00-002 | 7200039700-JWWF-I02-002 | General Specification of Instrumentation |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-SPC-IN-00-003 | 7200039700-JWWF-I02-003 | Specification for Instrumentation Cables |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-SPC-IN-00-004 | 7200039700-JWWF-I02-004 | Specification for Fire and Gas System |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-SPC-IN-00-005 | 7200039700-JWWF-I02-005 | Specification for Telephony and LAN |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-LIS-IN-00-001 | 7200039700-JWWF-I03-001 | List of Instruments |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-LIS-IN-00-002 | 7200039700-JWWF-I03-002 | List of Inputs / Outputs |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-LIS-IN-00-003 | 7200039700-JWWF-I03-003 | List of Instrumentation Cables |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-LIS-IN-00-004 | 7200039700-JWWF-I03-004 | Instrumentations accessories BOQ |  | 5.2 | 0 | 10.4 | 0
AR 11/19 | R1119-LIS-IN-00-005 | 7200039700-JWWF-I03-005 | MTO for Telephony and LAN |  | 5.2 | 0 | 15.6 | 0
AR 11/19 | R1119-LIS-IN-00-006 | 7200039700-JWWF-I03-006 | MTO fire and gas |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-IN-00-001 | 7200039700-JWWF-IE-001 | Control System Architecture |  | 2.6 | 5.2 | 5.2 | 20.8
AR 11/19 | R1119-DWG-IN-00-002 | 7200039700-JWWF-IE-002 | Instrumentation Block Diagram |  | 2.6 | 5.2 | 5.2 | 20.8
AR 11/19 | R1119-DWG-IN-00-003 | 7200039700-JWWF-IE-003 | Instrumentation Loop Diagram Sheet 1/12 |  | 2.6 | 5.2 | 10.4 | 41.6
AR 11/19 | R1119-DWG-IN-00-015 | 7200039700-JWWF-IE-015 | Instrumentation Loop Diagram Sheet 2/12
AR 11/19 | R1119-DWG-IN-00-016 | 7200039700-JWWF-IE-016 | Instrumentation Loop Diagram Sheet 3/12
AR 11/19 | R1119-DWG-IN-00-017 | 7200039700-JWWF-IE-017 | Instrumentation Loop Diagram Sheet 4/12
AR 11/19 | R1119-DWG-IN-00-018 | 7200039700-JWWF-IE-018 | Instrumentation Loop Diagram Sheet 5/12
AR 11/19 | R1119-DWG-IN-00-019 | 7200039700-JWWF-IE-019 | Instrumentation Loop Diagram Sheet 6/12
AR 11/19 | R1119-DWG-IN-00-020 | 7200039700-JWWF-IE-020 | Instrumentation Loop Diagram Sheet 7/12
AR 11/19 | R1119-DWG-IN-00-021 | 7200039700-JWWF-IE-021 | Instrumentation Loop Diagram Sheet 8/12
AR 11/19 | R1119-DWG-IN-00-022 | 7200039700-JWWF-IE-022 | Instrumentation Loop Diagram Sheet 9/12
AR 11/19 | R1119-DWG-IN-00-023 | 7200039700-JWWF-IE-023 | Instrumentation Loop Diagram Sheet 10/12
AR 11/19 | R1119-DWG-IN-00-028 | 7200039700-JWWF-IE-028 | Instrumentation Loop Diagram Sheet 11/12
AR 11/19 | R1119-DWG-IN-00-029 | 7200039700-JWWF-IE-029 | Instrumentation Loop Diagram Sheet 12/12
AR 11/19 | R1119-DWG-IN-00-004 | 7200039700-JWWF-IE-004 | Instrument layout |  | 2.6 | 5.2 | 5.2 | 20.8
AR 11/19 | R1119-DWG-IN-00-005 | 7200039700-JWWF-IE-005 | Instrument Cable routing Sheet 1/4 |  | 1.3 | 2.6 | 5.2 | 15.6
AR 11/19 | R1119-DWG-IN-00-006 | 7200039700-JWWF-IE-006 | Instrument Cable routing Sheet 2/4 |  | 1.3 | 2.6 | 5.2 | 15.6
AR 11/19 | R1119-DWG-IN-00-013 | 7200039700-JWWF-IE-007 | Instrument Cable routing Sheet 3/4
AR 11/19 | R1119-DWG-IN-00-027 | 7200039700-JWWF-IE-027 | Instrument Cable routing Sheet 4/4
AR 11/19 | R1119-DWG-IN-00-007 | 7200039700-JWWF-IE-008 | Junction Box Connection Diagrams |  | 2.6 | 2.6 | 10.4 | 31.2
AR 11/19 | R1119-DWG-IN-00-008 | 7200039700-JWWF-IE-009 | F&G detectors location Drawing Sheet 1/3 |  | 2.6 | 2.6 | 5.2 | 20.8
AR 11/19 | R1119-DWG-IN-00-014 | 7200039700-JWWF-IE-014 | F&G detectors location Drawing Sheet 2/3
AR 11/19 | R1119-DWG-IN-00-024 | 7200039700-JWWF-IE-024 | F&G detectors location Drawing Sheet 3/3
AR 11/19 | R1119-DWG-IN-00-011 | 7200039700-JWWF-IE-011 | Instrumentation Hookup Drawing sheet 1/2 |  | 2.6 | 5.2 | 5.2 | 20.8
AR 11/19 | R1119-DWG-IN-00-025 | 7200039700-JWWF-IE-025 | Instrumentation Hookup Drawing sheet 2/2
AR 11/19 | R1119-DWG-IN-00-010 | 7200039700-JWWF-IE-012 | Telephony and LAN Implementation Plan |  | 2.6 | 2.6 | 5.2 | 20.8
AR 11/19 | R1119-DWG-IN-00-012 | 7200039700-JWWF-IE-013 | Junction Box mounting and installation details |  | 2.6 | 5.2 | 10.4 | 31.2
AR 11/19 | R1119-DWG-IN-00-009 | 7200039700-JWWF-IE-010 | Fire alarm riser diagram sheet 1/2 |  | 2.6 | 2.6 | 5.2 | 20.8
AR 11/19 | R1119-DWG-IN-00-030 | 7200039700-JWWF-IE-026 | Fire alarm riser diagram sheet 2/2
AR 11/19 | R1119-DSH-IN-00-001 | 7200039700-JWWF-I04-001 | Data Sheet for Fire and Gas System Instruments |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-DSH-IN-00-002 | 7200039700-JWWF-I04-002 | Data Sheet for Pressure Measuring Instruments |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-DSH-IN-00-003 | 7200039700-JWWF-I04-003 | Data Sheet for Flow Measuring Instruments |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-DSH-IN-00-004 | 7200039700-JWWF-I04-004 | Data Sheet for Level Measuring Instruments |  | 2.6 | 0 | 5.2 | 0
AR 11/19 | R1119-DSH-IN-00-005 | 7200039700-JWWF-I04-005 | Data Sheet for Measuring and Analysis Instruments |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-DSH-IN-00-006 | 7200039700-JWWF-I04-006 | Data Sheet for MOVs |  | 2.6 | 0 | 31.2 | 0
AR 11/19 | R1119-DSH-IN-00-007 | 7200039700-JWWF-I04-007 | Datasheet of Junction Boxes |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-DSH-IN-00-008 | 7200039700-JWWF-I04-008 | Instrumentation cable Data Sheet |  | 2.6 | 0 | 15.6 | 0
AR 11/19 | R1119-RQ-IN-00-002 | 7200039700-JWWF-I08-002 | Requisition for Fire and Gas System |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-RQ-IN-00-003 | 7200039700-JWWF-I08-003 | Requisition for Telephony and LAN |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-RQ-IN-00-004 | 7200039700-JWWF-I08-004 | Requisition for MOVs |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-RQ-IN-00-005 | 7200039700-JWWF-I08-005 | Requisition for Pressure Measuring Instruments |  | 5.2 | 0 | 10.4 | 0
AR 11/19 | R1119-RQ-IN-00-006 | 7200039700-JWWF-I08-006 | Requisition for Flow Measuring Instruments |  | 5.2 | 0 | 10.4 | 0
AR 11/19 | R1119-RQ-IN-00-007 | 7200039700-JWWF-I08-007 | Requisition for Level Measuring Instruments |  | 2.6 | 0 | 5.2 | 0
AR 11/19 | R1119-RQ-IN-00-008 | 7200039700-JWWF-I08-008 | REQUISITION FOR MEASURING AND ANALYSIS INSTRUMENTS |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-RQ-IN-00-009 | 7200039700-JWWF-I08-009 | Requisition for Junction Boxes |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-RQ-IN-00-010 | 7200039700-JWWF-I08-010 | Requisition for Cables Instrumentation |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-RQ-IN-00-011 | 7200039700-JWWF-I08-011 | Requisition for Accessories and Fittings |  | 2.6 | 0 | 10.4 | 0
AR 11/19 | R1119-DSH-EL-00-007 | 7200039700-JWWF-E04-007 | Data Sheet for 4,16 KV/0,48 KV Transformer |  | 10.4 | 0 | 59.8 | 0
AR 11/19 | R1119-DSH-EL-00-008 | 7200039700-JWWF-E04-008 | Data Sheet for MCC/Switchboard |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-DSH-EL-00-009 | 7200039700-JWWF-E04-009 | Data Sheet for Dry Type Transformer |  | 5.2 | 0 | 39 | 0
AR 11/19 | R1119-DSH-EL-00-010 | 7200039700-JWWF-E02-010 | Data Sheet for Distribution Panels
AR 11/19 | R1119-DSH-EL-00-011 | 7200039700-JWWF-E04-011 | Data Sheet for AC UPS |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-DSH-EL-00-012 | 7200039700-JWWF-E04-012 | Data Sheet for DC Battery charger and Rectifier |  | 5.2 | 0 | 20.8 | 0
AR 11/19 | R1119-RPT-EL-00-001 | 7200039700-JWWF-E06-001 | Load Flow Analysis Report |  | 10.4 | 0 | 46.8 | 0
AR 11/19 | R1119-RPT-EL-00-002 | 7200039700-JWWF-E06-002 | Short circuit Study |  | 10.4 | 0 | 83.2 | 0
AR 11/19 | R1119-RPT-EL-00-003 | 7200039700-JWWF-E06-003 | Motor Starting Study |  | 10.4 | 0 | 46.8 | 0
AR 11/19 | R1119-RPT-EL-00-004 | 7200039700-JWWF-E06-004 | Relay Co-ordination and selectivity study |  | 10.4 | 0 | 156 | 0
AR 11/19 | R1119-CLC-EL-00-001 | 7200039700-JWWF-E05-001 | MV Cable Sizing Calculation |  | 7.8 | 0 | 41.6 | 5.2
AR 11/19 | R1119-CLC-EL-00-002 | 7200039700-JWWF-E05-002 | LV Cable Sizing Calculation |  | 10.4 | 0 | 62.4 | 10.4
AR 11/19 | R1119-CLC-EL-00-003 | 7200039700-JWWF-E05-003 | Indoor Lighting System Calculation |  | 0 | 2.6 | 2.6 | 54.6
AR 11/19 | R1119-CLC-EL-00-004 | 7200039700-JWWF-E05-004 | Outdoor Lighting System Calculation |  | 0 | 2.6 | 2.6 | 41.6
AR 11/19 | R1119-CLC-EL-00-005 | 7200039700-JWWF-E05-005 | Earthing & Lightning calculation |  | 5.2 | 0 | 31.2 | 15.6
AR 11/19 | R1119-CLC-EL-00-006 | 7200039700-JWWF-E05-006 | Detailed Calculation for Electrical Equipments |  | 5.2 | 0 | 46.8 | 0
AR 11/19 | R1119-CLC-EL-00-007 | 7200039700-JWWF-E05-007 | AC & DC UPS Sizing Calculation |  | 5.2 | 0 | 39 | 0
AR 11/19 | R1119-CLC-EL-00-008 | 7200039700-JWWF-E05-008 | Power Factor Improvement Calculation |  | 5.2 | 0 | 41.6 | 0
AR 11/19 | R1119-LIS-EL-00-002 | 7200039700-JWWF-E03-002 | Electrical Equipment List |  | 1.3 | 0 | 18.2 | 0
AR 11/19 | R1119-LIS-EL-00-003 | 7200039700-JWWF-E03-003 | Calculation Load Normal Operation |  | 2.6 | 0 | 49.4 | 0
AR 11/19 | R1119-LIS-EL-00-004 | 7200039700-JWWF-E03-004 | Calculation Load Standby Operation |  | 2.6 | 0 | 49.4 | 0
AR 11/19 | R1119-LIS-EL-00-005 | 7200039700-JWWF-E03-005 | Electrical MV Cable Schedule |  | 2.6 | 0 | 31.2 | 7.8
AR 11/19 | R1119-LIS-EL-00-006 | 7200039700-JWWF-E03-006 | Electrical LV Cable Schedule |  | 10.4 | 0 | 72.8 | 15.6
AR 11/19 | R1119-LIS-EL-00-007 | 7200039700-JWWF-E03-007 | Electrical Tie-in Schedule |  | 5.2 | 0 | 18.2 | 5.2
AR 11/19 | R1119-LIS-EL-00-008 | 7200039700-JWWF-E03-008 | Lighting Equipments and Fixtures MTO |  | 0 | 5.2 | 5.2 | 31.2
AR 11/19 | R1119-LIS-EL-00-009 | 7200039700-JWWF-E03-009 | Earthing & Lightning Protection Systems Material List |  | 0 | 5.2 | 5.2 | 41.6
AR 11/19 | R1119-LIS-EL-00-010 | 7200039700-JWWF-E03-010 | Electrical Bulk material List |  | 0 | 5.2 | 5.2 | 52
AR 11/19 | R1119-DWG-EL-00-005 | 7200039700-JWWF-EE-007 | Electrical Index of Drawing |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-EL-00-006 | 7200039700-JWWF-EE-008 | Single Line Diagram for LV MCC/Switchboard |  | 2.6 | 2.6 | 5.2 | 54.6
AR 11/19 | R1119-DWG-EL-00-007 | 7200039700-JWWF-EE-009 | Single Line Diagram for AC UPS |  | 1.3 | 3.9 | 6.5 | 32.5
AR 11/19 | R1119-DWG-EL-00-008 | 7200039700-JWWF-EE-010 | Single Line Diagram for DC Battery charger and Rectifier |  | 1.3 | 3.9 | 6.5 | 32.5
AR 11/19 | R1119-DWG-EL-00-009 | 7200039700-JWWF-EE-011 | Single Line Diagram for Lighting & Utilities Distrubition Panels Schedules |  | 1.3 | 2.6 | 5.2 | 46.8
AR 11/19 | R1119-DWG-EL-00-010 | 7200039700-JWWF-EE-012 | Single Line Diagram for External Lighting Distrubition Panels |  | 1.3 | 2.6 | 5.2 | 36.4
AR 11/19 | R1119-DWG-EL-00-011 | 7200039700-JWWF-EE-013 | Typical Schematic and Wiring Diagrams sheet 1 of 3 |  | 1.3 | 2.6 | 5.2 | 41.6
AR 11/19 | R1119-DWG-EL-00-038 | 7200039700-JWWF-EE-014 | Typical Schematic and Wiring Diagrams sheet 2 of 3
AR 11/19 | R1119-DWG-EL-00-039 | 7200039700-JWWF-EE-015 | Typical Schematic and Wiring Diagrams sheet 3 of 3
AR 11/19 | R1119-DWG-EL-00-012 | 7200039700-JWWF-ED-055 | Equipments Arrangement for SEC Buildings |  | 1.3 | 3.25 | 3.9 | 40.3
AR 11/19 | R1119-DWG-EL-00-013 | 7200039700-JWWF-ED-065 | Cable Routing Layout & Details for SEC Buildings |  | 1.3 | 3.25 | 3.9 | 48.1
AR 11/19 | R1119-DWG-EL-00-014 | 7200039700-JWWF-EE-016 | Indoor Lighting & Small Power for SEC Buildings |  | 1.3 | 3.25 | 6.5 | 45.5
AR 11/19 | R1119-DWG-EL-00-015 | 7200039700-JWWF-EE-017 | Earthing Details for SEC Buildings |  | 2.6 | 3.25 | 6.5 | 45.5
AR 11/19 | R1119-DWG-EL-00-016 |  | Lightning protection layout for CUSTOMER and SEC Buildings |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-EL-00-017 | 7200039700-JWWF-EE-019 | General Cable Routing Layout |  | 1.3 | 2.6 | 2.6 | 59.8
AR 11/19 | R1119-DWG-EL-00-018 | 7200039700-JWWF-EE-020 | Cable Routing Layout & Details for Electrical/Control/Diesel Generator Buildings Sheet 1/3 |  | 1.3 | 2.6 | 2.6 | 49.4
AR 11/19 | R1119-DWG-EL-00-043 | 7200039700-JWWF-EE-018 | Cable Routing Layout & Details for Electrical/Control/Diesel Generator Buildings Sheet 2/3
AR 11/19 | R1119-DWG-EL-00-044 | 7200039700-JWWF-EE-035 | Cable Routing Layout & Details for Electrical/Control/Diesel Generator Buildings Sheet 3/3
AR 11/19 | R1119-DWG-EL-00-019 | 7200039700-JWWF-EE-021 | Cable Routing Layout & Details for Pump House building Sheet 1/3 |  | 1.3 | 2.6 | 2.6 | 49.4
AR 11/19 | R1119-DWG-EL-00-040 | 7200039700-JWWF-EE-022 | Cable Routing Layout & Details for Pump House building Sheet 2/3
AR 11/19 | R1119-DWG-EL-00-042 | 7200039700-JWWF-EE-042 | Cable Routing Layout & Details for Pump House building Sheet 3/3
AR 11/19 | R1119-DWG-EL-00-020 | 7200039700-JWWF-EE-042 | Cable and Conduit Schedule |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-EL-00-021 | 7200039700-JWWF-EE-023 | External Lighting Layout |  | 1.3 | 2.6 | 2.6 | 49.4
AR 11/19 | R1119-DWG-EL-00-022 | 7200039700-JWWF-EE-024 | Indoor Lighting & Small Power for Electrical/Control/Diesel Generator Buildings |  | 1.3 | 2.6 | 5.2 | 41.6
AR 11/19 | R1119-DWG-EL-00-023 | 7200039700-JWWF-EE-025 | Indoor Lighting & Small Power for Pump House building |  | 1.3 | 2.6 | 5.2 | 36.4
AR 11/19 | R1119-DWG-EL-00-024 | 7200039700-JWWF-EE-026 | Overall Earthing Layout |  | 1.95 | 3.9 | 3.9 | 49.4
AR 11/19 | R1119-DWG-EL-00-025 | 7200039700-JWWF-EE-027 | Earthing Details for Electrical/Control/Diesel Generator Buildings |  | 1.625 | 3.9 | 6.5 | 46.8
AR 11/19 | R1119-DWG-EL-00-026 | 7200039700-JWWF-EE-028 | Earthing Details for Pump House building |  | 1.625 | 3.9 | 6.5 | 46.8
AR 11/19 | R1119-DWG-EL-00-027 | 7200039700-JWWF-EE-029 | Lightning protection layout for Electrical/Control/Diesel Generator & SEC Buildings |  | 1.3 | 2.6 | 5.2 | 36.4
AR 11/19 | R1119-DWG-EL-00-028 | 7200039700-JWWF-EE-030 | Electrical Routing Installation Details |  | 1.3 | 2.6 | 5.2 | 31.2
AR 11/19 | R1119-DWG-EL-00-029 | 7200039700-JWWF-EE-031 | Electrical Lighting Installation Details |  | 1.3 | 2.6 | 5.2 | 31.2
AR 11/19 | R1119-DWG-EL-00-030 | 7200039700-JWWF-EE-032 | Electrical Earthing & Lightning Installation Details |  | 1.3 | 2.6 | 5.2 | 31.2
AR 11/19 | R1119-DWG-EL-00-031 | 7200039700-JWWF-EE-033 | Electrical Interconnection Drawing |  | 1.3 | 2.6 | 2.6 | 83.2
AR 11/19 | R1119-DWG-EL-00-032 | 7200039700-JWWF-EE-034 | Lightning protection layout for Pump House building |  | 1.3 | 2.6 | 5.2 | 36.4
AR 11/19 | R1119-RQ-EL-00-007 | 7200039700-JWWF-E08-007 | Requisition for LV MCC/Switchboard |  | 2.6 | 0 | 31.2 | 0
AR 11/19 | R1119-RQ-EL-00-008 | 7200039700-JWWF-E08-008 | Requisition for Distribution Panels
AR 11/19 | R1119-RQ-EL-00-009 | 7200039700-JWWF-E08-009 | Requisition for AC Uninterruptible Power Supply |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-RQ-EL-00-010 | 7200039700-JWWF-E08-010 | Requisition for DC Battery charger and Rectifier |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-RQ-EL-00-011 | 7200039700-JWWF-E08-011 | Requisition for MV/LV Electrical Cables |  | 5.2 | 0 | 36.4 | 0
AR 11/19 | R1119-RQ-EL-00-012 | 7200039700-JWWF-E08-012 | Requisition for Local Control Panels |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-RQ-EL-00-013 | 7200039700-JWWF-E08-013 | Requisition for Lighting Equipments and Fixtures |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-RQ-EL-00-014 | 7200039700-JWWF-E08-014 | Requisition for Earthing & Lightning Protection Systems |  | 2.6 | 0 | 20.8 | 0
AR 11/19 | R1119-RQ-EL-00-015 | 7200039700-JWWF-E08-015 | Requisition for Electrical Bulk material |  | 1.3 | 0 | 20.8 | 0
AR 11/19 | R1119-RPT-SF-00-001 | 7200039700-JWWF-F06-001 | HSE Philosophy |  | 26 | 0 | 52 | 0
AR 11/19 | R1119-RPT-SF-00-002 | 7200039700-JWWF-F06-002 | Fire Fighting Calculations Report |  | 26 | 0 | 62.4 | 0
AR 11/19 | R1119-DWG-SF-00-001 | 7200039700-JWWF-FE-001 | P&ID's Fire water system |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-SF-00-002 | 7200039700-JWWF-FE-002 | Fire fighting layout Sheet 1 of 2 |  | 5.2 | 9.1 | 22.1 | 32.5
AR 11/19 | R1119-DWG-SF-00-004 | 7200039700-JWWF-FE-004 | Fire fighting layout Sheet 2 of 2 |  | 5.2 | 9.1 | 22.1 | 32.5
AR 11/19 | R1119-DWG-SF-00-003 | 7200039700-JWWF-FE-003 | Hazardous Area Classification Layout |  | 10.4 | 10.4 | 30.55 | 40.95
AR 11/19 | R1119-LIS-SF-00-001 | 7200039700-JWWF-F03-001 | Safety equipment list |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-LIS-SF-00-002 | 7200039700-JWWF-F03-002 | Hazardous Area Classification Schedule |  | 5.2 | 0 | 10.4 | 0
AR 11/19 | R1119-DSH-SF-00-001 | 7200039700-JWWF-F04-001 | Safety Equipment Datasheet |  | 6.5 | 0 | 26 | 0
AR 11/19 | R1119-SPC-SF-00-001 | 7200039700-JWWF-F02-001 | Safety Equipment Specification |  | 15.6 | 0 | 52 | 0
AR 11/19 | R1119-RQ-SF-00-001 | 7200039700-JWWF-F08-001 | Safety Equipment Requisition |  | 13 | 0 | 31.2 | 0
AR 11/19 | R1119-DWG-CV-00-001 | 7200039700-JWWF-AE-001 | Site Development Plan-New Pump Station |  | 1.3 | 2.6 | 0 | 26
AR 11/19 | R1119-DWG-CV-00-002 | 7200039700-JWWF-AE-002 | Electrical and Control Building -Ground Floor |  | 1.3 | 1.3 | 0 | 32.5
AR 11/19 | R1119-DWG-CV-00-003 | 7200039700-JWWF-AE-003 | Electrical and Control Building - Roof Plan & Ceiling plan FIRST FLOOR AND CABLE CELLAR PLAN |  | 1.3 | 1.3 | 0 | 32.5
AR 11/19 | R1119-DWG-CV-00-004 | 7200039700-JWWF-AE-004 | Electrical and Control Building Elevations and Sections ROOF PLAN |  | 1.3 | 1.3 | 0 | 32.5
AR 11/19 | R1119-DWG-CV-00-005 | 7200039700-JWWF-AE-005 | Electrical and Control Building Foundation, columns slab Layout ELEVATIONS |  | 1.3 | 1.3 | 0 | 29.9
AR 11/19 | R1119-DWG-CV-00-006 | 7200039700-JWWF-AE-006 | Electrical and Control Building details and schedules SECTIONS |  | 1.3 | 1.3 | 0 | 26
AR 11/19 | R1119-DWG-CV-00-007 | 7200039700-JWWF-AE-007 | Sec Interface Building - Ground Floor , Roof Plan Elevations and Sections ELECTRICAL AND CONTROL BUILDING CEILING PLAN |  | 1.3 | 1.3 | 0 | 19.5
AR 11/19 | R1119-DWG-CV-00-008 | 7200039700-JWWF-AE-008 | Sec Interface Building - schedule and details ELECTRICAL AND CONTROL BUILDING TOILET & KITCHEN |  | 1.3 | 1.3 | 0 | 19.5
AR 11/19 | R1119-DWG-CV-00-009 | 7200039700-JWWF-AE-009 | Generator Building -Ground Floor , Roof Plan Elevations and Sections ELECTRICAL AND CONTROL BUILDING DOORS AND WINDOWS |  | 1.3 | 1.3 | 0 | 19.5
AR 11/19 | R1119-DWG-CV-00-066 | 7200039700-JWWF-AE-0010 | Generator Building -schedule and details ELECTRICAL AND CONTROL BUILDING MISCELLANEOUS DETAILS |  | 1.3 | 1.3 | 0 | 19.5
AR 11/19 | R1119-DWG-CV-00-010 | 7200039700-JWWF-SE-001 | Structural General Notes Sheet 1/2 |  | 1.3 | 1.3 | 5.2 | 15.6
AR 11/19 | R1119-DWG-CV-00-011 | 7200039700-JWWF-SE-002 | Structural General Notes Sheet 2/2 |  | 1.3 | 1.3 | 5.2 | 15.6
AR 11/19 | R1119-DWG-CV-00-012 | 7200039700-JWWF-SE-003 | Sewer Pump Station Foundation Layout and details sheet 1 |  | 1.3 | 1.3 | 1.3 | 39
AR 11/19 | R1119-DWG-CV-00-013 | 7200039700-JWWF-SE-004 | Sewer Pump Station Foundation Layout and details sheet 2 |  | 1.3 | 1.3 | 1.3 | 39
AR 11/19 | R1119-DWG-CV-00-014 | 7200039700-JWWF-SE-005 | Sewer Pump Station Foundation Layout and details sheet 3 |  | 1.3 | 1.3 | 1.3 | 39
AR 11/19 | R1119-DWG-CV-00-015 | 7200039700-JWWF-SE-006 | Sewer Pump Station Foundation Layout and details sheet 4 |  | 1.3 | 1.3 | 1.3 | 39
AR 11/19 | R1119-DWG-CV-00-070 | 7200039700-JWWF-SE-007 | Sewer Pump Station Foundation Layout and details sheet 5
AR 11/19 | R1119-DWG-CV-00-071 | 7200039700-JWWF-SE-008 | Sewer Pump Station Foundation Layout and details sheet 6
AR 11/19 | R1119-DWG-CV-00-072 | 7200039700-JWWF-SE-009 | Sewer Pump Station Foundation Layout and details sheet 7
AR 11/19 | R1119-DWG-CV-00-074 | 7200039700-JWWF-SE-027 | Sewer Pump Station Foundation Layout and details sheet 8-steel structure detail
AR 11/19 | R1119-DWG-CV-00-075 | 7200039700-JWWF-SE-028 | Operating platform steel structure drawing -PLF1-PLF2
AR 11/19 | R1119-DWG-CV-00-076 | 7200039700-JWWF-SE-029 | Operating platform steel structure drawing -PLF3
AR 11/19 | R1119-DWG-CV-00-077 | 7200039700-JWWF-SE-030 | Operating platform steel structure drawing -PLF4
AR 11/19 | R1119-DWG-CV-00-078 | 7200039700-JWWF-SE-031 | Operating platform steel structure drawing -PLF5
AR 11/19 | R1119-DWG-CV-00-079 | 7200039700-JWWF-SE-032 | Operating platform steel structure drawing -PLF6
AR 11/19 | R1119-DWG-CV-00-080 | 7200039700-JWWF-SE-033 | Operating platform steel structure drawing -steel stucture detail
AR 11/19 | R1119-DWG-CV-00-090 | 7200039700-JWWF-SE-034 | Odor control system foundation detail
AR 11/19 | R1119-DWG-CV-00-085 | 7200039700-JWWF-CE-041 | Air release for chamber for pipe 1200- Foarm work and reinforcement
AR 11/19 | R1119-DWG-CV-00-086 | 7200039700-JWWF-CE-042 | Isolation chamber for pipe 1200- Foarm work and reinforcement
AR 11/19 | R1119-DWG-CV-00-087 | 7200039700-JWWF-CE-043 | Washout chamber for pipe 1200- Foarm work and reinforcement
AR 11/19 | R1119-DWG-CV-00-088 | 7200039700-JWWF-CE-044 | Ladder and covers miscellaneous details
AR 11/19 | R1119-DWG-CV-00-016 | 7200039700-JWWF-SE-010 | Electrical and Control Building Foundation, columns slab Layout |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-017 | 7200039700-JWWF-SE-011 | Electrical and Control Building Ground Beam and slab on grade layout sheet 1 |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-018 | 7200039700-JWWF-SE-012 | Electrical and Control Building Ground Beam and slab on grade layout sheet 2 |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-019 | 7200039700-JWWF-SE-013 | ELECTRICAL AND CONTROL BUILDING BEAMS AND ROOF LAYOUT |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-020 | 7200039700-JWWF-SE-014 | Electrical Building building structural details Sheet 1 |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-021 | 7200039700-JWWF-SE-015 | Sec Interface Building Building Steel Roofing Layout and details |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-022 | 7200039700-JWWF-SE-016 | Generator Building Foundation, columns slab Layout |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-023 | 7200039700-JWWF-SE-017 | Generator Building Structural details |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-024 | 7200039700-JWWF-SE-018 | Generator Building Steel Roofing Layout and details |  | 1.3 | 1.3 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-025 | 7200039700-JWWF-SE-019 | Flow Meter Chamber -Formwork and reinforcement |  | 1.3 | 2.6 | 2.6 | 45.5
AR 11/19 | R1119-DWG-CV-00-026 | 7200039700-JWWF-SE-020 | Air Release Chamber For pipe 900 -Formwork and reinforcement |  | 1.3 | 2.6 | 2.6 | 65
AR 11/19 | R1119-DWG-CV-00-027 | 7200039700-JWWF-SE-021 | Isolation Chamber For pipe 900 - Formwork and reinforcement |  | 1.3 | 2.6 | 2.6 | 45.5
AR 11/19 | R1119-DWG-CV-00-028 | 7200039700-JWWF-SE-022 | Washout Chamber-For pipe 900 Foarmwork and reinforcement |  | 1.3 | 2.6 | 2.6 | 45.5
AR 11/19 | R1119-DWG-CV-00-081 | 7200039700-JWWF-SE-023 | Air Release Chamber for pipe 1200-Formwork and reinforcement
AR 11/19 | R1119-DWG-CV-00-082 | 7200039700-JWWF-SE-024 | Isolation Chamber for pipe 1200-- Formwork and reinforcement
AR 11/19 | R1119-DWG-CV-00-083 | 7200039700-JWWF-SE-025 | Washout Chamber for pipe 1200--Formwork and reinforcement
AR 11/19 | R1119-DWG-CV-00-084 | 7200039700-JWWF-SE-026 | Ladder and covers miscellaneous details
AR 11/19 | R1119-DWG-CV-00-029 | 7200039700-JWWF-CE-001 | Civil works General arrangement drawing |  | 1.3 | 2.6 | 0 | 65
AR 11/19 | R1119-DWG-CV-00-030 | 7200039700-JWWF-CE-002 | Site Grading & Paving Plan-New Pump Station |  | 1.3 | 2.6 | 0 | 32.5
AR 11/19 | R1119-DWG-CV-00-031 | 7200039700-JWWF-CE-003 | Road grading and layout |  | 1.3 | 2.6 | 1.3 | 32.5
AR 11/19 | R1119-DWG-CV-00-032 | 7200039700-JWWF-CE-004 | Road Cross Section Drawing |  | 1.3 | 2.6 | 1.3 | 26
AR 11/19 | R1119-DWG-CV-00-033 | 7200039700-JWWF-CE-005 | Strom Water Layout |  | 1.3 | 2.6 | 0 | 32.5
AR 11/19 | R1119-DWG-CV-00-034 | 7200039700-JWWF-CE-006 | PW & Sewer network layout |  | 1.3 | 2.6 | 0 | 32.5
AR 11/19 | R1119-DWG-CV-00-035 | 7200039700-JWWF-CE-007 | Fence Layout and details |  | 1.3 | 2.6 | 0 | 32.5
AR 11/19 | R1119-DWG-CV-00-064 | 7200039700-JWWF-CE-008 | Fence and Gates Details |  | 1.3 | 5.2 | 0 | 13
AR 11/19 | R1119-DWG-CV-00-065 | 7200039700-JWWF-CE-009 | Manholes and connexions drawing |  | 1.3 | 10.4 | 0 | 13
AR 11/19 | R1119-DWG-CV-00-036 | 7200039700-JWWF-CE-010 | Miscellaneous Civil Works details |  | 1.3 | 2.6 | 1.3 | 39
AR 11/19 | R1119-DWG-CV-00-067 | 7200039700-JWWF-CE-011 | Site Demolition Plan New Pump Station
AR 11/19 | R1119-DWG-CV-00-037 | 7200039700-JWWF-CE-020 | Forcemain 1200 Plot plan |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-068 | 7200039700-JWWF-CE-031 | PS56 TO SWTP-9 SWW FORCE-MAIN ROUTE MAP Sheet 1/3 |  | 1.3 | 2.6 | 0 | 32.5
AR 11/19 | R1119-DWG-CV-00-069 | 7200039700-JWWF-CE-032 | PS56 TO SWTP-9 SWW FORCE-MAIN ROUTE MAP Sheet 2/3
AR 11/19 | R1119-DWG-CV-00-073 | 7200039700-JWWF-CE-033 | PS56 TO SWTP-9 SWW FORCE-MAIN ROUTE MAP Sheet 3/3
AR 11/19 | R1119-DWG-CV-00-038 | 7200039700-JWWF-CE-021 | Forcemain 1200 Alignement Sheet 1/15 |  | 0 | 4.68 | 0 | 10.92
AR 11/19 | R1119-DWG-CV-00-039 | 7200039700-JWWF-CE-022 | Forcemain 1200 Alignement Sheet 2/15 |  | 0 | 4.68 | 0 | 10.92
AR 11/19 | R1119-DWG-CV-00-040 | 7200039700-JWWF-CE-023 | Forcemain 1200 Alignement Sheet 3/15 |  | 0 | 4.68 | 0 | 10.92
AR 11/19 | R1119-DWG-CV-00-041 | 7200039700-JWWF-CE-024 | Forcemain 1200 Alignement Sheet 4/15 |  | 0 | 4.68 | 0 | 10.92
AR 11/19 | R1119-DWG-CV-00-042 | 7200039700-JWWF-CE-025 | Forcemain 1200 Alignement Sheet 5/15 |  | 0 | 4.68 | 0 | 10.92
AR 11/19 | R1119-DWG-CV-00-043 | 7200039700-JWWF-CE-026 | Forcemain 1200 Alignement Sheet 6/15 |  | 0 | 4.68 | 0 | 10.92
AR 11/19 | R1119-DWG-CV-00-044 | 7200039700-JWWF-CE-027 | Forcemain 1200 Alignement Sheet 7/15 |  | 0 | 4.68 | 0 | 10.92
AR 11/19 | R1119-DWG-CV-00-045 | 7200039700-JWWF-CE-028 | Forcemain 1200 Alignement Sheet 8/15 |  | 0 | 4.68 | 0 | 10.92
AR 11/19 | R1119-DWG-CV-00-046 | 7200039700-JWWF-CE-029 | Forcemain 1200 Alignement Sheet 9/15 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-047 | 7200039700-JWWF-CE-030 | Forcemain 1200 Alignement Sheet 10/15 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-048 | 7200039700-JWWF-CE-034 | Forcemain 1200 Alignement Sheet 11/15 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-049 | 7200039700-JWWF-CE-035 | Forcemain 1200 Alignement Sheet 12/15 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-050 | 7200039700-JWWF-CE-036 | Forcemain 1200 Alignement Sheet 13/15 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-051 | 7200039700-JWWF-CE-037 | Forcemain 1200 Alignement Sheet 14/15 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-052 | 7200039700-JWWF-CE-038 | Forcemain 1200 Alignement Sheet 15/15 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-053 | 7200039700-JWWF-CE-050 | JUBAIL-TOWN SWW FORCE-MAIN ROUTE MAP (FROM JIC) |  | 1.3 | 3.9 | 0 | 31.2
AR 11/19 | R1119-DWG-CV-00-054 | 7200039700-JWWF-CE-051 | Forcemain 900 Alignement Sheet 1/5 |  | 0 | 3.9 | 0 | 7.8
AR 11/19 | R1119-DWG-CV-00-055 | 7200039700-JWWF-CE-052 | Forcemain 900 Alignement Sheet 2/5 |  | 0 | 3.9 | 0 | 7.8
AR 11/19 | R1119-DWG-CV-00-056 | 7200039700-JWWF-CE-053 | Forcemain 900 Alignement Sheet 3/5 |  | 0 | 3.9 | 0 | 6.5
AR 11/19 | R1119-DWG-CV-00-057 | 7200039700-JWWF-CE-054 | Forcemain 900 Alignement Sheet 4/5 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-058 | 7200039700-JWWF-CE-055 | Forcemain 900 Alignement Sheet 5/5 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-059 | 7200039700-JWWF-CE-056 | Forcemain 900 Alignement Sheet 6/9 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-060 | 7200039700-JWWF-CE-057 | Forcemain 900 Alignement Sheet 7/9 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-061 | 7200039700-JWWF-CE-058 | Forcemain 900 Alignement Sheet 8/9 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-062 | 7200039700-JWWF-CE-059 | Forcemain 900 Alignement Sheet 9/9 |  | 0 | 0 | 0 | 0
AR 11/19 | R1119-DWG-CV-00-063 | 7200039700-JWWF-CE-060 | Force-main Trench Details Standard Drawings |  | 2.6 | 2.6 | 0 | 13
AR 11/19 | R1119-CLC-CV-00-001 | 7200039700-JWWF-S05-001 | Sewer Pump Sation Calculation Note |  | 2.6 | 0 | 78 | 0
AR 11/19 | R1119-CLC-CV-00-002 | 7200039700-JWWF-S05-002 | Electrical and Control Building Calculation Note |  | 2.6 | 0 | 72.8 | 0
AR 11/19 | R1119-CLC-CV-00-003 | 7200039700-JWWF-S05-003 | Sec Interface Building Calculation Note |  | 1.3 | 0 | 32.5 | 0
AR 11/19 | R1119-CLC-CV-00-004 | 7200039700-JWWF-S05-004 | Generator Building Calculation Note |  | 1.3 | 0 | 32.5 | 0
AR 11/19 | R1119-CLC-CV-00-005 | 7200039700-JWWF-S05-005 | Flow Meter Chamber Calculation Note |  | 1.3 | 0 | 31.2 | 0
AR 11/19 | R1119-CLC-CV-00-006 | 7200039700-JWWF-S05-006 | Air Release Chamber Calculation Note |  | 1.3 | 0 | 32.5 | 0
AR 11/19 | R1119-CLC-CV-00-007 | 7200039700-JWWF-S05-007 | Isolation Chamber Calculation Note |  | 1.3 | 0 | 32.5 | 0
AR 11/19 | R1119-CLC-CV-00-008 | 7200039700-JWWF-S05-008 | Washout Chamber Calculation Note |  | 1.3 | 0 | 32.5 | 0